## Daily check list
DAILY CHECKLIST - COOLING TOWER | [24 empty] | MONTH:
|  |  | SITE NAME | [9 empty] | ENGINEERING & OPERATIONS SOLUTIONS GROUP | [11 empty] | CHK NO: E&OS/CT/001
|  |  | LOCATION |  |  | Need Master list of the location / Sub locaiton / Zone | [18 empty] | REV NO: 00 (Help us with the actual Rev no:)
RELEASE DATE: 04/01/2010
Sl-No | ACTIVITY | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
General Check
1 | Check the structural / mechanical faults | ?Query What is to be captured here, Yes / No / NA, etc…
2 | Check for stock levels in chemical containers | ?Query What is to be captured here, Yes / No / NA, etc…
3 | Satisfactory prime in chemical dosing pipe work | ?Query What is to be captured here, Yes / No / NA, etc…
4 | Check for signs of foulant build-up (eg, algae, sludge, debris, etc); | ?Query What is to be captured here, Yes / No / NA, etc…
5 | Check the condition of the cooling tower shell, basin, fill, drift eliminator and water distribution system | ?Query What is to be captured here, Yes / No / NA, etc…
6 | Check for any water leaks (eg, overflow, splash-over, excessive bleed-off); | ?Query What is to be captured here, Yes / No / NA, etc…
7 | Check for any blockage or restricted air intake (eg, from plastic bags / rubbish) and Excessive foaming. | ?Query What is to be captured here, Yes / No / NA, etc…
8 | Check the cooling fan Operation | ?Query What is to be captured here, Yes / No / NA, etc…
| Technician Signature | Employee Mater list (Employee Name, Employee code no: (auto populated based on employee name), Employee Designation (auto populated based on employee name))
SIGN. FACILITY ENGINEER
Employee Mater list (Employee Name, Employee code no: (auto populated based on employee name), Employee Designation (auto populated based on employee name))

## Monthly
MONTHLY CHECKLIST - COOLING TOWER
ENGINEERING & OPERATIONS SOLUTIONS GROUP |  | SITE NAME |  | CHK NO: E&OS/CT/002
|  | LOCATION | Need Master list of the location / Sub locaiton / Zone | REV NO: 00 (Help us with the actual Rev no:)
|  | CAPACITY | Master list required of the existing capacity | RELEASE DATE: 04/09/2010
Frequency : Monthly |  |  | Date :
Sl.No | Details of Checks |  | Observation/Remarks
1 | Check the structural / mechanical faults |  | ?Query What is to be captured here, Yes / No / NA, etc…
2 | Check for stock levels in chemical containers |  | ?Query What is to be captured here, Yes / No / NA, etc…
3 | Satisfactory prime in chemical dosing pipe work |  | ?Query What is to be captured here, Yes / No / NA, etc…
4 | Check for signs of foulant build-up (eg, algae, sludge, debris, etc); |  | ?Query What is to be captured here, Yes / No / NA, etc…
5 | Check the condition of the cooling tower shell, basin, fill, drift eliminator and water distribution system |  | ?Query What is to be captured here, Yes / No / NA, etc…
6 | Check for any water leaks (eg, overflow, splash-over, excessive bleed-off); |  | ?Query What is to be captured here, Yes / No / NA, etc…
7 | Check for any blockage or restricted air intake (eg, from plastic bags / rubbish) and Excessive foaming. |  | ?Query What is to be captured here, Yes / No / NA, etc…
8 | Check the cooling fan Operation & Power connections |  | ?Query What is to be captured here, Yes / No / NA, etc…
9 | On-site analysis of pH, total alkalinity, chloride/Total Dissolved Solids, corrosion inhibitor and oxidising biocide residuals (e.g. bromine, chlorine where applicable) must be performed. |  | ?Query What is to be captured here, Yes / No / NA, etc…
10 | Side stream filters must be inspected and maintained. |  | ?Query What is to be captured here, Yes / No / NA, etc…
11 | The system’s operating water temperature shall be measured at the return line to the cooling tower and the system adjusted to keep this as low as is reasonably practical. |  | ?Query What is to be captured here, Yes / No / NA, etc…
12 | Chemical dosing/bleed/monitoring equipment shall be examined for correct operation and adjusted/re-calibrated as necessary. to ensure effective chemical residuals are maintained until re-instatement of effective dosing equipment. |  | ?Query What is to be captured here, Yes / No / NA, etc…
13 | Chemical dosing containers shall be inspected to ensure stock levels have a minimum of one month’s capacity. |  | ?Query What is to be captured here, Yes / No / NA, etc…
Remarks:
Employee Mater list (Employee Name, Employee code no: (auto populated based on employee name), Employee Designation (auto populated based on employee name)) |  |  |  |  | Employee Mater list (Employee Name, Employee code no: (auto populated based on employee name), Employee Designation (auto populated based on employee name))
PPM Carried Out By: |  |  |  |  | Facility Engineer
PPM Full form ( is it Planned Preventive Maintenance)

## Quarterly & Half yearly
QUATERLY CHECKLIST - COOLING TOWER
ENGINEERING & OPERATIONS SOLUTIONS GROUP |  | SITE NAME |  | CHK NO: E&OS/CT/003
|  | LOCATION | Need Master list of the location / Sub locaiton / Zone | REV NO: 00 (Help us with the actual Rev no:)
|  | CAPACITY | Master list required of the existing capacity | RELEASE DATE: 04/09/2010
Frequency : Quarterly |  |  | Date :
Sl.No | Details of Checks |  | Observation/Remarks
1 | Check the structural / mechanical faults |  | ?Query What is to be captured here, Yes / No / NA, etc…
2 | Check for stock levels in chemical containers |  | ?Query What is to be captured here, Yes / No / NA, etc…
3 | Satisfactory prime in chemical dosing pipe work |  | ?Query What is to be captured here, Yes / No / NA, etc…
4 | Check for signs of foulant build-up (eg, algae, sludge, debris, etc); |  | ?Query What is to be captured here, Yes / No / NA, etc…
5 | Check the condition of the cooling tower shell, basin, fill, drift eliminator and water distribution system |  | ?Query What is to be captured here, Yes / No / NA, etc…
6 | Check for any water leaks (eg, overflow, splash-over, excessive bleed-off); |  | ?Query What is to be captured here, Yes / No / NA, etc…
7 | Check for any blockage or restricted air intake (eg, from plastic bags / rubbish) and Excessive foaming. |  | ?Query What is to be captured here, Yes / No / NA, etc…
8 | Check the cooling fan Operation and carryout necessary service. |  | ?Query What is to be captured here, Yes / No / NA, etc…
9 | On-site analysis of pH, total alkalinity, chloride/Total Dissolved Solids, corrosion inhibitor and oxidising biocide residuals (e.g. bromine, chlorine where applicable) must be performed. |  | ?Query What is to be captured here, Yes / No / NA, etc…
10 | Side stream filters must be inspected and maintained. |  | ?Query What is to be captured here, Yes / No / NA, etc…
11 | The system’s operating water temperature shall be measured at the return line to the cooling tower and the system adjusted to keep this as low as is reasonably practical. |  | ?Query What is to be captured here, Yes / No / NA, etc…
12 | Chemical dosing/bleed/monitoring equipment shall be examined for correct operation and adjusted/re-calibrated as necessary. to ensure effective chemical residuals are maintained until re-instatement of effective dosing equipment. |  | ?Query What is to be captured here, Yes / No / NA, etc…
13 | Sump to be drained and cleaned |  | ?Query What is to be captured here, Yes / No / NA, etc…
14 | Wetted pads to be cleaned and replaced |  | ?Query What is to be captured here, Yes / No / NA, etc…
15 | Water strainer is to be cleaned |  | ?Query What is to be captured here, Yes / No / NA, etc…
16 | Drainage system is to be flushed with clean fresh water |  | ?Query What is to be captured here, Yes / No / NA, etc…
Remarks:
Employee Mater list (Employee Name, Employee code no: (auto populated based on employee name), Employee Designation (auto populated based on employee name)) |  |  |  |  | Employee Mater list (Employee Name, Employee code no: (auto populated based on employee name), Employee Designation (auto populated based on employee name))
PPM Carried Out By: |  |  |  |  | Facility Engineer
PPM Full form ( is it Planned Preventive Maintenance)

## Yearly
YEARLY CHECKLIST - COOLING TOWER
ENGINEERING & OPERATIONS SOLUTIONS GROUP |  | SITE NAME |  | CHK NO: E&OS/CT/004
|  | LOCATION | Need Master list of the location / Sub locaiton / Zone | REV NO: 00 (Help us with the actual Rev no:)
|  | CAPACITY | Master list required of the existing capacity | RELEASE DATE: 04/09/2010
Frequency : Monthly |  |  | Date :
Sl.No | Details of Checks |  | Observation/Remarks
1 | Check the structural / mechanical faults |  | ?Query What is to be captured here, Yes / No / NA, etc…
2 | Check for stock levels in chemical containers |  | ?Query What is to be captured here, Yes / No / NA, etc…
3 | Satisfactory prime in chemical dosing pipe work |  | ?Query What is to be captured here, Yes / No / NA, etc…
4 | Check for signs of fouling build-up (eg, algae, sludge, debris, etc); |  | ?Query What is to be captured here, Yes / No / NA, etc…
5 | Check the condition of the cooling tower shell, basin, fill, drift eliminator and water distribution system |  | ?Query What is to be captured here, Yes / No / NA, etc…
6 | Check for any water leaks (eg, overflow, splash-over, excessive bleed-off); |  | ?Query What is to be captured here, Yes / No / NA, etc…
7 | Check for any blockage or restricted air intake (eg, from plastic bags / rubbish) and Excessive foaming. |  | ?Query What is to be captured here, Yes / No / NA, etc…
8 | Check the cooling fan Operation and carryout necessary service. |  | ?Query What is to be captured here, Yes / No / NA, etc…
9 | On-site analysis of pH, total alkalinity, chloride/Total Dissolved Solids, corrosion inhibitor and oxidising biocide residuals (e.g. bromine, chlorine where applicable) must be performed. |  | ?Query What is to be captured here, Yes / No / NA, etc…
10 | Side stream filters must be inspected and maintained. |  | ?Query What is to be captured here, Yes / No / NA, etc…
11 | The system’s operating water temperature shall be measured at the return line to the cooling tower and the system adjusted to keep this as low as is reasonably practical. |  | ?Query What is to be captured here, Yes / No / NA, etc…
12 | Chemical dosing/bleed/monitoring equipment shall be examined for correct operation and adjusted/re-calibrated as necessary. to ensure effective chemical residuals are maintained until re-instatement of effective dosing equipment. |  | ?Query What is to be captured here, Yes / No / NA, etc…
13 | Sump to be drained and cleaned |  | ?Query What is to be captured here, Yes / No / NA, etc…
14 | Wetted pads to be cleaned and replaced |  | ?Query What is to be captured here, Yes / No / NA, etc…
15 | Water strainer is to be cleaned |  | ?Query What is to be captured here, Yes / No / NA, etc…
16 | Drainage system is to be flushed with clean fresh water |  | ?Query What is to be captured here, Yes / No / NA, etc…
17 | Off-site analysis of dissolved iron/copper and Total Suspended Solids must be performed |  | ?Query What is to be captured here, Yes / No / NA, etc…
18 | Condenser end-boxes and relevant pipe-work sections should be inspected |  | ?Query What is to be captured here, Yes / No / NA, etc…
Remarks:
Employee Mater list (Employee Name, Employee code no: (auto populated based on employee name), Employee Designation (auto populated based on employee name)) |  |  |  |  | Employee Mater list (Employee Name, Employee code no: (auto populated based on employee name), Employee Designation (auto populated based on employee name))
PPM Carried Out By: |  |  |  |  | Facility Engineer
PPM Full form ( is it Planned Preventive Maintenance)